PART 1 GENERAL

1.01 Description

The contoured benches shown on the plans and herein specified are the products of Kane Innovations, Erie, Pennsylvania.  This manufacturer’s name and products have been used to establish the standards of construction and quality of workmanship required for this project.  Manufacturers bidding on this project must be actively engaged in the fabrication of specified items for a minimum of five (5) years prior to the bid date. Manufacturers requesting approval to bid their products as equal must submit to the Architect full-size drawings, including details of construction, and a complete contoured bench sample, ten (10) days prior to the bid date.

1.02 Submittals

A.	Manufacturer shall submit shop drawings, showing details of attachment to surround materials and elevations showing scope of the project.

B.	Samples of materials as may be requested without cost to owner; frame sections, etc.

1.03 Warranty

The contoured bench supplied by Kane Innovations on the designated project is warranted for one (1) year against any proven defective material or parts, as called for in the specifications and approved shop drawings.  This warranty does not cover abuse by others.

PART 2 PRODUCTS

2.01 Acceptable Manufacturers

Kane Innovations, Erie, PA

 (800) 773-2439

2.02 Material

A.	Contoured bench shall be formed of 12-gauge steel.

B.	End plates shall be made of 12-gauge steel.

C.	Intermediate supports shall be made of 12-gauge steel.

2.03 Mounting Angles

Mounting angles shall be 3” [76.2] x 2” [50.8] x ¼” [6.35] structural steel angles which are continuous at floor and wall the length of each bench.

2.04 Finish

A.	All interior and exterior surfaces of the bench and mounting angles shall be thoroughly cleaned in a 5-step bonderizing process.  The surfaces shall receive an electrostatically applied thermoplastic, polyester powder coating which shall be baked to a hard mar-resistant finish in Kane’s standard gray.

2.05 Fabrication

A.	The bench shall be formed to contoured shape as shown on the contract drawing.  End plates shall be continuously welded along contour and dressed smooth.  Intermediate supports shall be located at 48” [1219.2] intervals and shall be stitch welded to back side of the bench.

- Sound deadening insulation shall be applied to the inside cavity of the bench.  Sound deadening insulation does not completely fill the benches.  Additional insulation, if required, is to be provided and installed by others.

2.06 Hardware

A.	Each bench shall have all necessary installation hardware, including security head fastening screws.

- Each bench shall come fully assembled and tested from the factory.

PART 3 EXECUTION

3.01 Inspection

Verify that openings fit allowable tolerances are plumb, level, provide a solid anchoring surface and comply with approved shop drawings.

PART 4 ENVIROMENTAL REPORTING

4.01 LEED Materials and Resources

A.   Recycled Content: This product contributes toward satisfying Credit 4 under LEED.

B    Regional Material: This product can contribute toward satisfying Credit 5 under LEED.